## Slide 1: UWE Bristol Advanced control and dynamics UFME7F-15-M
Tutorial 4
1 Introduction to control systems
2 Specify control system performance
Notes: Welcome

## Slide 2: General application --- control in life and work
Target = f (existing entity, extra effort)
-
Targeted
output
Real
output
Controller
Extra effort
Plant
Existing entity
Feedback

## Slide 3: Simple example (closed loop and dynamic)
To turn this into an automatic control system some means of responding to actual temperature is required. function blocks, arrows and connection
Heater
Room
Desired
temperature
Actual room temperature
measurement
+
-
Comparison or error measurement
What we do with the heater depends on temperature error
Feedback

## Slide 4: Some Examples
Control systems are required in complex machines, devices
  Aircraft control systems
  Robotic systems
  Anti-lock braking systems
  Manufacturing processes

## Slide 5: Examples
Inverted Pendulum, etc.
  Demo
Videos
  http://tinyurl.com/uwetriple
  http://tinyurl.com/uweballrobot
  http://tinyurl.com/uwebigdog
  http://tinyurl.com/uwekestrel

## Slide 6: Specification of 2nd order systems for controller design with ζ and ωn
Let the closed control system behave like a second order system
Determine ζ and ωn from requested/specified performance

## Slide 7: Response/pole location on the “s” plane
Unstable
Stable
slow
fast
slow
fast
Low frequency oscillation
High frequency oscillation

## Slide 8: Second order step response
c(t)
Time
0
tr
tp
ts
c(tp) –css
95%
5% settling time
css
Performance Criteria: all linked with ζ and ωn
Rise time, tr
  Time to first reach steady state value (for underdamped systems)
  Time to go from 10% to 90% amplitude for overdamped systems
Peak time, tp
  Time to initial overshoot
Peak overshoot, y(tp) –yss
  Initial overshoot, above steady state value (usually expressed as %)
Settling time, ts
  Time for response to reach and remain in specified ratio (±5% in this case)
Number of oscillations to ts

## Slide 9
Rise time:
Time to peak:
c(t)
Time
0

## Slide 10
Settling time
  Peak overshoot ( is a percentage value)
c(t)
Time
0

## Slide 11: Standard (normalised) step response

## Slide 12: First order: Unit step
We can use equation to estimate response
time | Output
0 | 0
τ | 63.2%
3τ | 95%
5τ | 99%
10τ | 99.9%

## Slide 13: Example: unit step
Unit Step
63.2%
95%

## Slide 14: Any questions?